## Slide 1
Scott Sandwith
Applications Engineer
New River Kinematics
Art Poley
Developer
New River Kinematics
Automation Solutions

## Slide 3: Automation: Introduction (brief, so we can get into examples)
Automation Solutions
  Template Files
  Toolkit (GD&T, Relationships, Inspect, Analysis, Report)
  MPs (Setup, Acquisition, Analysis, Reporting, Archive)
  SDK (C++, VB, Other Languages)
Interfaces
  Simple MP
  Task Overview
  SA Button Control
  HTML
  Open Instrument
Examples
  MP
  SDK
Questions

## Slide 4: Automation: SA Template Files (Key for Automation)
User Options (Vector Group Settings, Screen, Backups etc.)
Customize SA Menus and Toolbars
Imported Nominals
  Points, CAD, Frames etc.
Setup
  NAMING CONVENTION
  Relationships
  Feature Checks and Datums
  Dimensions
  Report Templates
Embed MP’s
Instrument Stations
  Positions
  Measurement Profiles
  Targeting Offset
n SA Template Files
SA MPs
Solution
Common Process
Input: Different Parts
Output: Consistent Results

## Slide 5: Toolkit Automation (covered in other sessions)
GD&T (Imported with CAD – Constructed)
Relationships
Inspection
Analysis
Reporting

## Slide 6: Measurement Plans
MP = Scripts of functions
  Yikes, there are a lot of functions. Which is nice.
MP functions
  Arguments (Input and Output)
  Return Status
SA Data Types (make things easier)
Looping, Conditional Tests, Runtime Input and Feedback
Subroutines, Variables,
Data Exchange via ASCII, Excel, ODBC

## Slide 7: Simple MP: Relationship Fit and Report
Shade
Make Relationship
Optimize
Set POV
Set Analysis Options
Create VG
Report
MPs Auto Upgrade

## Slide 8: Create an MP from scratch
Duplicate circles on a series of points
  Ask User to ‘Select Circle to Duplicate’
  Ask User to ‘Select Points’
Get number of points
Loop
  Copy Circle
End

## Slide 9: Automation: SA Button with HTML

## Slide 10: SDK
Enables embedded integration SA functionality
Connect to SA via MP interface
MP provides stub code in C++ and VB
Direct data exchange between SA and Integration App

## Slide 11: Automation: SDK Application
737 Fuselage Join

## Slide 12: SDK Application: 737 Fuselage Join

## Slide 13: Automation: Mold and Segment Inspection

## Slide 14
Questions and Answers