## Slide 1
At start up you should go into setup

## Slide 2
This check box toggles between DEFINE a plane for 3D measured features or always uses the LAST plane measured

## Slide 3
As for most measurement routines, you start
by measuring a plane

## Slide 4
Results of the measured plane
Number of points taken
Form or flatness
Default name or define
This gives you the option to set Nominals & Tolerances. You can do it now or later.
Front button to accept
Back button to reject

## Slide 5
After you accept the measured feature it automatically assumes that you will measure another same feature.
It only assumes next feature when AUTO PLANE is turned on.
Either measure another or hit the back button or escape to cancel.

## Slide 6
Next you can measure a 2D line.
Notice the 3D option too.
I can’t remember ever measuring a 3D line.

## Slide 7
With auto plane turned on, it will default to the last plane measured.
You can hit enter or the front button to accept.
Or, choose DEFINE and measure one, click one in the dialog box
or pick one FROM SCREEN by clicking on the plane seen on the screen.

## Slide 8
Results box of your measured line
Again, similar reports and options as the plane.

## Slide 9
Here again, after you accept the feature, it automatically assumes that you will measure another line on the same plane.
In this example I will measure another line.

## Slide 10
Results box of your measured line

## Slide 11
Now I will construct a point at the intersection of the two lines. Since the two lines were automatically projected to the plane, the point will be constructed on the same plane.

## Slide 12
The dialog box lets me choose the lines used to construct the point. Pick from the window or screen.

## Slide 13
Results box of your constructed point

## Slide 14
Now I have the minimum features required to create a 3 2 1 alignment. (Or frame in SA)
Plane, line and a point.
Notice the other alignment options. 99% of the time you will use a 3 2 1.

## Slide 15
Here you choose the features for your alignment.
Pick directions
Uncheck this box and you can construct a line from point reducible features
Pick from window or screen

## Slide 16
Example of the completed dialog box

## Slide 17
Results box of your alignment

## Slide 18
After you choose accept, the view of the part will be squared with your alignment and viewed from the top.

## Slide 19
This option allows you to review your measured and constructed features.

## Slide 20
You can pick from the window or the screen of the feature you want to view.
You can choose to set Nominals & Tolerances at this time
The Print option is very user friendly
This highlights the feature selected