## NRK-Romer
NRK-ROMER Interface
will be finalized on time
might be finalized on time
will be not finalized on time
|  |  |  | FINALIZED | FINALIZED
Ref. | Priority | Date | Délai | Status | Question Description: | NRK | ROMER
NRK_1 |  |  |  |  | Can you please tell me how to convert the values reported to joint angles? | I have edited your Gdsdllex header to expose the joint values. It would appear from the magnitudes of the numbers that I get encoder counts (not joint angles) from the dll. I.e., the cpr's of the encoders, or whatever the proper conversion is from the numbers I get to joint angles. Also, the values are reported in the Counters 1 through 6. Just to be safe. I have come up with a guess of joint angle i (degrees) = armdata[i]/1750.0 but I am sure that is not the exact answer. | Actually there is no way to retreive the encoder resolution to be able to convert the encoder value into angle as we are working on a new version for the end of march we'll add the ability to retreive the armdata needed. Encoder Res and arm length for the used configuration.
NRK_2 |  |  |  | FINALIZED | Can you confirm which Counter value corresponds to which physical joint? | You can ignore that question. I have now confirmed that one empirically.
NRK_3 |  |  |  |  | For our graphical models in SA, could you send dimensioned drawings for all models? | We need only the joint lengths and offsets or, if it is more convenient for you, D&H parameters. For the flex arms, it would help to have numbers for both configurations. | see NRK1
NRK_4 |  |  |  |  | Regarding the Flex arms, is it possible to query what the current joint lengths are?
NRK_5 |  |  |  |  | If you would like, we would be happy to support the G-Scan. If so, while we have an arm here, could you send a G-Scan so we can integrate and test it? |  | see NRK1
NRK_6 |  |  |  | FINALIZED | How do I get automatic probe detection to work as it should? | If I have called gdsSetProbeDetection(TRUE), and I change a probe, I get a message box with the following message: GDSDLL : Un nouveau capteur a été détecté. Sélectionner le bon capteur dans le logiciel. A new probe has been detected. Select the correct probe in the software. However, subsequent calls to gdsGetProbeDiameter return the last manually set probe diameter. Similarly, subsequent calls to gdsGetProbeIndex return the last manually set probe index. I can change the current probe only by calling gdsSetProbedetection(FALSE) and then calling gdsSetProbeIndex (appropriate index). So my question is : | use gdsSetUserID(23522) if you are not otherwise tell me.
NRK_7 |  |  |  | FINALIZED | Is there a method which performs a hard probe calibration? I do not see one in the header or the documentation? |  | The hard probe calibration is done from our GDS interface.