| Command String | Description |
| --- | --- |
| “Send Measured Points” | Send measured points with all measure modes |
| “Don't Send Measured Points” | Don’t send measured points with any measure modes |
| “Calibrate” | Initiate arm calibration (hit arm cal. button) |
| “Auto-Prox with Scanner” | For SA Auto-Correspond with proximity trigger |
| “Auto-Prox with Probe” | For SA Auto-Correspond with proximity trigger |

MP OpCheck string commands for cmm arms…